## Slide 1
Podatkovno modeliranje klimatizacijskog sustava
Martin Vidmar

## Slide 2
Podatci
.
Calorimeter.csv
01
Zones.csv
02
Fan.csv
03
2018-2022
80/20

## Slide 3
3 modela
Ridge
Linearna regresija
regularizacija
LGBM
Stabla odluke
Po listovima
TabPFN
Transformer
Tablični podatci
Pre-trained

## Slide 4
Obrada podataka
Ridge
TabPFN
LGBM
X=martica dizajna
Fan_flow
12 kombinacija
(XTX+lambda*I)-1XTy
theta
'flow_type': klasterizirani protok
'fan_speed': klasterizirana brzina vrtnje ventilatora
'zone_id': identifikacijski broj zone
'delta_T': supply_t - z_temp: temperatura na ulazu u sustav-temperatura u zoni)
'target': manualno izračunata toplinska energija u sustavu

## Slide 5
Optimizacija parametara
Ridge
TabPFN
LGBM
Faktor regularizacije  lambda
50 000
Pre-trained
Samo kontekst
reg_lambda: 0.5
reg_alpha: 0.1
num_leaves': 256
n_estimators': 800
min_child_samples': 20
max_depth’: 6
learning_rate': 0.1

## Slide 6
Rezultati

## Slide 7
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
Ridge
MAE | RMSE | R2
0.28 kW | 0.47 kW | 0.895
LGBM
TabPFN
MAE | RMSE | R2
0.1202 kW | 0.3162 kW | 0.9768
MAE | RMSE | R2
0.2235 kW | 0.9442 kW | 0.8311

## Slide 8
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
Ridge
LGBM
TabPFN

## Slide 9
Analiza najvećih grešaka
Početak i kraj radnog dana
Oko 7
Oko 16:30

## Slide 10
Prilagodba dobu dana
Ridge
TabPFN
LGBM
X=martica dizajna
Fan_flow_hour
288 kombinacija
kompleksniji, točniji model
'hour’: broj sata u danu

## Slide 11
Rezultati

## Slide 12
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
Ridge
MAE | RMSE | R2
0.26 kW | 0.44 kW | 0.893
LGBM
TabPFN
MAE | RMSE | R2
0.1089 kW | 0.2564 kW | 0.9837
MAE | RMSE | R2
0.1703 kW | 0.4240 kW | 0.9521

## Slide 13
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
Ridge
LGBM
TabPFN

## Slide 14
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation.
Your Text Here
Zaključak
LGBM najbrži
Prilagodba fizičkim veličinama
Fine-tuning
Uklanjanje outlier-a